Water Outage Response Plan

INTRODUCTION

Preparing for the potential loss of the water distribution system or supply is an essential part of emergency response.  This template has been developed for water agencies to help them develop such response plans.

The actions in this document should be expanded and customized by the utility agency based on what works best for them.

HOW TO USE THIS TEMPLATE

Emergency planning is a community effort. A water utility should utilize this template to develop their own internal plans for identifying risks to water supply, the utility’s ability to respond to the loss of supply internally, and at what point a greater community response may be needed to respond to resident needs. This planning should be done in coordination with their internal staff, the cities they serve and other coordinating partners.

TEMPLATE

- Risks to Water Supply

  - What events can result in a loss of water supply for your agency?

    - Earthquake

    - Power Outages

    - Loss of Import Supply

    - Water Quality Incident

    - Others?

  - What is the potential scope of impact for each event scenario by household/people? Assessing threats or hazards that can isolate the supply may be a better direction rather than estimating the population not receiving water from the system.

  - How does your agency determine how many people in jurisdiction are impacted? (Windshield survey, SCADA, Field Estimate, etc.)

    - How many are we prepared to serve?

- Water Distribution Activation Triggers – This is a consideration of what the trigger points are for your agency to provide alternative drinking water supplies and at what point will your agency require outside assistance.

The following trigger parameters are general guidelines that the Water Utility will utilize to assist in the determination of when and what types of response actions are needed in order to provide drinking water to the public to ensure health and safety. The actual impacts and capabilities following a real event could impact how these concepts are implemented.

Trigger #2 and #3 may occur at the same time depending on the circumstances of the event and all coordinating partner’s capabilities.

(The idea is to identify how many people or households would need to be out of water to activate each level of response. At times the elevation of response may not be due to the number of people, but also a consideration for the estimated duration for the outage. Each Trigger is explained in full below the chart with questions to assist with the development of implementation plans.)

  - LOW – Bottled Water Distribution by the Utility

The distribution of any on-hand emergency water bottles the Utility may have in case of emergency – this amount varies greatly by agency. This could also include what a water utility may go to the local store to purchase and provide.

    - What does the Utility have available?

    - Where is it stored?

    - Plan for distribution? (Staff transportation, outreach to customers)

    - Public messaging

    - Partner Agency Notification and Coordination

  - Medium – Alternative Water Supply Distribution (water trailers, spigots, reservoirs)

    - Drinking Water Trailer

      - Water Trailer SOP

(Non-Water Trailer Utilities should still identify sites they would fill the trailers and park them for public access.)

        - Messaging for the Public (Same as water trailer?)

      - Identified Sites

        - For Water Supply (Potable Water Analysis - Attachment XX)

        - For Water Trailer deployment

      - Partner Agency Notification and Coordination

    - Emergency Water Spigots (see specifications- Annex XX)

      - How many set-up are available?

      - Pre-Identified Sites

      - Messaging for the Public (Same as water trailer?)

      - Partner Agency Notification and Coordination

    - Opening of Water Tank/Reservoir Sites

      - List of sites that this could be utilized at.

      - Reservoir logistics - what would be required to make this work?

      - Messaging for the Public (Same as water trailer?)

      - Partner Agency Notification and Coordination

  - High – Request assistance from cities/county/WEROC

    - City/County contact list

| City Served | Population Served | Geographical Area Served | Primary Contact | Phone | Email | 24-Hour Contact (Name, Phone) |
| --- | --- | --- | --- | --- | --- | --- |

Triggers Chart

|  |  | # of Pressure Zones/ Households/ People Affected | Outage Duration (Estimated) | Limiting Factors | Notifications |
| --- | --- | --- | --- | --- | --- |
| LOW | Alternative Water Distribution Established near customers. Managed by the Utility |  |  |  |  |
| MEDIUM | Alternative Water Distribution Established at Pre-Identified Locations. Managed by utility with possible mutual aid assistance. Possible EOC Activation |  |  |  |  |
| HIGH | Request outside assistance (City/County) to provide Drinking Water. Beyond Utility response capability. Utility EOC activated. |  |  |  |  |

    - Partner Agency Coordination Plan

      - How will you coordinate with your partner agencies, including water utilities? Will you send a liaison or request one?

    - Can the utility continue to help in anyway? If so, how?

- Coordination with Response Partners

  - Discussions to come on how to work together to ensure the community needs are met

  - Discussion items:

    - Roles and responsibilities

    - Who pays/reimbursement

    - Disaster planning timeline

- Logistics

  - Pre-disaster contracts

- Other considerations

  - Access, Disability & Functional Needs (ADFN)

    - How will you serve people who are not able to come to distribution centers?

    - What are critical sites within the community that may need alternate planning?

    - Are there known populations within the community who will need alternate planning?

    - What are the communication needs specific to these groups?

    - What are we capable of doing ourselves and what will we need assistance on?

- Communications Plan

  - Develop your policies and procedures for communications

  - Languages within community served

  - Refer to Annex __: Communication Tools

| (INSERT AGENCY NAME HERE) |  |
| --- | --- |
| (All water measurements in MGD) |  |
| Municipal and Industrial Uses |  | Peak | Low | Annual Average | Total Capacity |  |  |
|  | Treated Import |  |  |  |  |  |  |
|  | Well/Groundwater |  |  |  |  |  |  |
|  | Untreated Import |  |  |  |  |  |  |
|  | Total Avg. Demand |  |  |  |  |  |  |
| Reservoir/Tank | Name | Total capacity | Average capacity | Treated | Untreated |  |  |
| Potable Water Bottling |  | Name | Stock on Hand* | Bottles/Day** | Contact | Phone |  |
|  | In-house |  |  |  |  |  |  |
|  | Private (List multiple companies if applicable) |  |  |  |  |  |  |
| Population |  | Summer | Winter | Average |  |  |  |
|  | Daytime Population |  |  |  |  |  |  |
|  | Industrial & Commercial Potable |  |  |  |  |  |  |
|  | Evening Residential |  |  |  |  |  |  |
| Special Need Facilities |  | Name | Address | Demand | Occupants (Average) | Contact | Phone |
|  | Hospitals |  |  |  |  |  |  |
|  | Schools |  |  |  |  |  |  |
|  | Nursing Centers |  |  |  |  |  |  |
|  | Other |  |  |  |  |  |  |

| Water Planning Assumptions | Unit | Measure |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Drinking | 1 | gallon |  |  |  |  |  |  |
| Sanitation & Cooking | 2 | gallons |  |  |  |  |  |  |
| 1 Case 16 oz Bottle water | 3 | gallons |  |  |  |  |  |  |
| 1 Case 22 oz Bottle water | 3.75 | gallons |  |  |  |  |  |  |
| 1 pallet | 237 | gallons |  |  |  |  |  |  |
| 1 truck | 20 | pallets |  |  |  |  |  |  |
|  |  | Water Per Day (Gallons) | Cases of Water Per Day | Planning Per Day |
| Cities | 2014 | Sanitation & Cooking | Drinking | Total | 16 oz Bottles | 20 oz Bottles | # of Pallets | # of Trucks |
| Aliso Viejo | 49,939 | 99,878 | 49,939 | 149,817 | 49,939 | 39,951 | 632 | 32 |
| Anaheim | 348,369 | 696,738 | 348,369 | 1,045,107 | 348,369 | 278,695 | 4,410 | 220 |
| Brea | 42,389 | 84,778 | 42,389 | 127,167 | 42,389 | 33,911 | 537 | 27 |
| Buena Park | 82,330 | 164,660 | 82,330 | 246,990 | 82,330 | 65,864 | 1,042 | 52 |
| Costa Mesa | 111,835 | 223,670 | 111,835 | 335,505 | 111,835 | 89,468 | 1,416 | 71 |
| Cypress | 48,874 | 97,748 | 48,874 | 146,622 | 48,874 | 39,099 | 619 | 31 |
| Dana Point | 34,031 | 68,062 | 34,031 | 102,093 | 34,031 | 27,225 | 431 | 22 |
| Fountain Valley | 56,690 | 113,380 | 56,690 | 170,070 | 56,690 | 45,352 | 718 | 36 |
| Fullerton | 140,120 | 280,240 | 140,120 | 420,360 | 140,120 | 112,096 | 1,774 | 89 |
| Garden Grove | 173,935 | 347,870 | 173,935 | 521,805 | 173,935 | 139,148 | 2,202 | 110 |
| Huntington Beach | 196,009 | 392,018 | 196,009 | 588,027 | 196,009 | 156,807 | 2,481 | 124 |
| Irvine | 242,676 | 485,352 | 242,676 | 728,028 | 242,676 | 194,141 | 3,072 | 154 |
| Laguna Beach | 23,219 | 46,438 | 23,219 | 69,657 | 23,219 | 18,575 | 294 | 15 |
| Laguna Hills | 30,848 | 61,696 | 30,848 | 92,544 | 30,848 | 24,678 | 390 | 20 |
| Laguna Niguel | 64,449 | 128,898 | 64,449 | 193,347 | 64,449 | 51,559 | 816 | 41 |
| La Habra | 61,705 | 123,410 | 61,705 | 185,115 | 61,705 | 49,364 | 781 | 39 |
| Lake Forest | 79,125 | 158,250 | 79,125 | 237,375 | 79,125 | 63,300 | 1,002 | 50 |
| La Palma | 15,890 | 31,780 | 15,890 | 47,670 | 15,890 | 12,712 | 201 | 10 |
| Los Alamitos | 11,725 | 23,450 | 11,725 | 35,175 | 11,725 | 9,380 | 148 | 7 |
| Mission Viejo | 95,320 | 190,640 | 95,320 | 285,960 | 95,320 | 76,256 | 1,207 | 60 |
| Newport Beach | 86,870 | 173,740 | 86,870 | 260,610 | 86,870 | 69,496 | 1,100 | 55 |
| Orange | 139,268 | 278,536 | 139,268 | 417,804 | 139,268 | 111,414 | 1,763 | 88 |
|  |  | Water Per Day (Gallons) | Cases of Water | Planning Per Day |  |  |  |  |
| Cities | 2014 | Sanitation & Cooking | Drinking | Total | 16 oz Bottles | 20 oz Bottles | # of Pallets | # of Trucks |
| Placentia | 52,084 | 104,168 | 52,084 | 156,252 | 52,084 | 41,667 | 659 | 33 |
| Rancho Santa Margarita | 48,823 | 97,646 | 48,823 | 146,469 | 48,823 | 39,058 | 618 | 31 |
| San Clemente | 64,865 | 129,730 | 64,865 | 194,595 | 64,865 | 51,892 | 821 | 41 |
| San Juan Capistrano | 35,891 | 71,782 | 35,891 | 107,673 | 35,891 | 28,713 | 454 | 23 |
| Santa Ana | 332,386 | 664,772 | 332,386 | 997,158 | 332,386 | 265,909 | 4,207 | 210 |
| Seal Beach | 24,586 | 49,172 | 24,586 | 73,758 | 24,586 | 19,669 | 311 | 16 |
| Stanton | 38,954 | 77,908 | 38,954 | 116,862 | 38,954 | 31,163 | 493 | 25 |
| Tustin | 78,347 | 156,694 | 78,347 | 235,041 | 78,347 | 62,678 | 992 | 50 |
| Villa Park | 5,932 | 11,864 | 5,932 | 17,796 | 5,932 | 4,746 | 75 | 4 |
| Westminster | 91,637 | 183,274 | 91,637 | 274,911 | 91,637 | 73,310 | 1,160 | 58 |
| Yorba Linda | 67,055 | 134,110 | 67,055 | 201,165 | 67,055 | 53,644 | 849 | 42 |
| County Unincorporated | 121,458 | 242,916 | 121,458 | 364,374 | 121,458 | 97,166 | 1,537 | 77 |
| COUNTY TOTAL | 3,114,209 | 6,228,418 | 3,114,209 | 9,342,627 | 3,114,209 | 2,491,367 | 39,420 | 1,971 |

Water Spigot Specifications

Materials: (Specifications from LBWD, Pictures from Napa)

- 2-1/2" x 2" brass bushing 2" x 12" brass nipple

- 2" x 1" brass tee

- 1" x  6" brass nipple

- 1" x 3/4" brass reducer

- 3/4" brass hose bib

- 2" brass cap

Additional Discussion:

- Materials are required to meet NSF 61 regulations

- Good sites for this may be sample sites

- Water Quality Policy

  - Discussion should be had internally to determine protocol of this concept following a disaster.

  - In general should follow AWWA Disinfection Requirements for repairing mains

Annex XXXX: Maps of Possible Spigot, Trailer or POD Sites

Map or chart of sites.

Sample Chart

| Distribution Type | Site Name | Address | Average Gallons |
| --- | --- | --- | --- |
| Spigot Site | Front of City Hall | 300 Main Street, City | NA |
| Reservoir Site | Big Reservoir | 200 Water Way, City | 5 million |

May want to also include some info on what neighborhoods or areas would be expected to be served by each site. This could help to identify gaps.

Annex ___: Communication Tools

Potable Water Trailer Communications

Sharable Tools for Agency Planning

General Discussions:

- Outreach/Marketing

  - Pre-disaster materials

    - Community events

      - Show examples of Containers to store water in

      - Show examples of what NOT use

      - Encourage public to store water in advance

        - How to treat water to keep clean.

      - Provide Instruction on how & when to shut-off water valves

    - Handouts – encouraging containers

      - How to store water

      - How much water to store (1 gal/per person/day)

        - Extra for pets, medical, small children and elderly

      - How to disinfect

      - Water Quality of Tank water

      - Slogan “just have it”

    - Signage

      - Banners – Emergency Drinking Water Station

      - Signs

        - How to treat water at home

        - How to store water

        - Sources of water from around the home

    - Discussions (In House)

      - Pre-identify locations if reasonable

      - Limitations to how much per person or family?

      - How distribute to ADFN population

  - Post-Disaster Materials

    - Handouts –

      - Info on How to Use the Water: proper containers, water quality

      - Release of Liability Statement?

      - SCWD developed a door hanger on boil order

        - Develop one for the water trailer

          - What is the trailer

          - What type of containers

    - Press Releases

      - Topics:

        - Trailer location

        - Dates

        - Times

        - Why type of container to bring and NOT bring

        - How to clean the container

        - ADFN Alternatives

        - Quality of Water

          - Super chlorinated?

          - How to Boil? Stove, distiller, tabs, etc.

        - Website

        - Agency Info: website, phone number, social media sites

      - Modify into Alert OC Templates

    - Signage

      - Emergency Drinking Water Station (Store on Trailer)

      - A-Frame

        - How water to be treated/tested

        - Line starts here/what to do

    - Social Media

      - Where is Trailer Located, Date and Time

      - Photo of Trailer

      - What Type of Container to Bring

      - Connect them to Agency Website for Emergency Updates

      - Hotline Info

      - Notify when service back, alternate supply solutions or no more trailer

Simple Steps to Protect Your Family

In an emergency, help may not be available for up to 72 hours.

Will you be water prepared?

How will you, your family, and your home survive a disaster often depends upon how well you are prepared. The first 72 hours after a major earthquake or other disaster are critical. Public safety services will be overwhelmed. You should be prepared to be self-sufficient for at LEAST 3 DAYS following a disaster. Should the water supplied to your home or business be shut off or become unsafe to use during a disaster, we suggest the following measures.

How much water should I store?

- Store one gallon of water per person per day.  Children, nursing mothers, and ill people will need more.

- Keep at least a three-day supply of water per person (two quarts for drinking, two quarts for each person in your household for food preparation/sanitation).

- Keep extra water for pets.

# How should water be stored?

Store water in clean, non-corrosive, tightly covered containers or purchase commercially bottled water. The bottles should be clearly labeled and dated, and the water changed every six months.

# Should I shut of my water following an event?

Immediately after a major natural disaster, prevent contamination to your home water supply by shutting off your house valve. Do not drink, bathe in, or wash anything with tap water until advised it’s safe to do so. What you can do now…

- Locate your house valve and water heater. Mark with fluorescent paint or tape so they can be found in the dark.

- Learn how to operate shut-off valves to water lines, water heater, and how to remove any covers.

- Have pipe or crescent wrenches available to turn off gas and water supplies if necessary.

# How do I purify my water supply?

If water is polluted or until advised that it is safe use, follow these guidelines. Always strain water through coffee filters, paper towels, of clean cotton clothing, before treating the water.

- Boil vigorously for a minimum of 5 minutes.

- Add ordinary liquid chlorine household bleach (8 drops per gal) or iodine 2% (12 drops per gal). Do not use granular or scented forms of household bleach; they are poisonous.

# What other sources of water can be used?

- Water heater: 1) turn off the gas/electric supply; 2) close inlet water valve; 3) open any hot water faucet or disconnect the hot water line at the top of the tank; and 4) drain water into a container by opening the faucet at the bottom of the heater.

- Toilet tank can be used, as long as disinfectant or coloring has not been used in the tank.

- Do not use pool or spa water as a source of drinking water. Use this water for bathing or for flushing toilets. Make sure sewer lines are intact before you flush toilets.

For more information on emergency preparedness, call your local emergency management office or chapter of the American Red Cross.

7/13/2016Sample Press Release:

FOR IMMEDIATE RELEASE

Contact

Name

Phone

# Drinking Water Points of Distribution

City, CA – (Date) Provide an overview of the impact of the disaster to the water supply and actions being taken to restore services.

Due to the impact of this disaster on our ability to deliver water through our distribution system, the Agency Name will be providing clean drinking water at the following locations on the noted dates and times:

- Location

- Dates

- Times

Residents who cannot get to a water distribution location or cannot carry a water container once full, should… (ADFN - Have an internal conversation on how these individuals will be taken care of. Include that concept in this press release.)

Residents should bring clean food grade containers with tight fitting screw-on caps to fill with water. Examples of containers that can and should not be used:

| Good Containers | Do NOT Use |
| --- | --- |
| Containers from houseware or camping supply stores | Milk Containers - Plastic Jugs or cardboard containers that held milk. |
| Water vending machine containers | Any container that held a toxic substance. |
| Empty soda, water, juice or punch containers | Containers not labeled for food or beverage storage. |
|  | Containers too large for the resident to carry themselves once full. |

Agency Name we will be providing water from our system that is (safe to drink, super chlorinated, or needs to be Boiled).

Select appropriate following sentences:

- Safe to Drink – As long as the container provided is an appropriate container and has been sanitized as described above, the water is safe to drink without other additional actions. If you are unsure of your container’s cleanliness, then please follow the attached guidelines for treatment.

- Super Chlorinated – As a precaution, we have added extra chlorine to the water, you may detect a slight order or taste. The water is safe to drink.

- Boil Water Notice* - Do not drink the water without boiling it first. Bring all water to a rolling boil, let it boil for one (1) minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking (including baby formula and juice), brushing teeth, washing dishes, making ice and food preparation until further notice. A copy of the complete Boil Water Notice is available on our website or at (utility’s public notice location)

For more information, concerns and updates to the Drinking Water Points of Distribution schedule… website, phone number, social media site, etc.

*Depending on disaster conditions, consider this additional language for boil order notices.

- Please use caution when boiling water or cooking. There have been some reports of power and natural gas outages. If you smell gas or have exposed wiring, DO NOT light a stove, candles or matches and instead used bottle water until these safety issues are resolved. If using a camp stove, please use the stove in a well ventilated area and preferably outside.

- Consider a statement if there are restrictions of a kind on quantity of water being distributed per individual or family.

Social Media Templates:

- Where is Trailer Located, Date and Time

(Water Utility Name) is distributing drinking water (Day and Times) at the following sites:

- Name of Facility, Address

- Name of Facility, Address

- Name of Facility, Address

- Photo of Trailer

(Picture) (Water Utility Name) drinking water trailer will be available. For more information www.website.com

- What Type of Container to Bring

(Pictures of Types of Containers to Use) We would like to suggest containers similar to these for the collection of water from our distribution sites.

(Pictures of Types of Containers NOT to Use) Please do NOT use containers like these when you come to pick up water.

- Connect them to Agency Website for Emergency Updates

For more information about impacts to drinking water due to the (disaster), please go to www.website.com

- Hotline Info

- Notify when service back, alternate supply solutions or no more trailer

- Ask Neighbors is you can help them.

- Instructional Videos on

  - Long Term Water Storage

  - Boiling Water

  - Cleaning/Sanitizing Containers for Water Storage

Emergency Water Distribution

Facts You Need to Know

Agency Name we are providing water from our system that is (safe to drink, super chlorinated, or needs to be Boiled). Possible statement about how/why you know the water quality.

Select appropriate following sentences:

- Safe to Drink – As long as the container provided is an appropriate container and has been sanitized as described below, the water is safe to drink without other additional actions. If you are unsure of your container’s cleanliness, then please follow the guidelines below for a Boil Water Notice. This process will only be helpful if the container is an appropriate container in the first place.

- Super Chlorinated – What are we supposed to say?

- Boil Water Notice - Do not drink the water without boiling it first. Bring all water to a rolling boil, let it boil for one (1) minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking (including baby formula and juice), brushing teeth, washing dishes, making ice and food preparation until further notice. A copy of the complete Boil Water Notice is available on our website or at (utility’s public notice location).

For more information, concerns and updates to the Drinking Water Points of Distribution schedule… website, phone number, social media site, etc

Guidelines on Containers:

Residents should bring clean food grade containers with tight fitting screw-on caps to fill with water. Examples of containers that can be used:

- Containers from houseware or camping supply stores

- Water vending machine containers

- Empty beverage containers such as 2-liter soda bottles and other water, juice or punch containers

Do not use:

- Plastic jugs or cardboard containers that held milk. Milk protein cannot be adequately removed from these containers and provide an environment for bacterial growth when water is stored in them.

- NEVER use a container that has held toxic substances, because tiny amounts may remain in the container's pores.

- Containers not labeled for food or beverage storage could release harmful chemicals into the water.

- Containers too large for resident to carry themselves once full.

Before filling with water, thoroughly clean the containers and lids with dishwashing soap and hot water, and rinse completely so there is no residual soap. Sanitize the bottles by adding a solution of 1 teaspoon of non-scented liquid household chlorine bleach to a quart of water. Mix the sanitizing solution in the bottle so that it touches all surfaces. After sanitizing the bottle, thoroughly rinse out the sanitizing solution with clean water.

| Type of Notice | Phone | Email | Text |
| --- | --- | --- | --- |
| Water Trailer Distribution | This is an urgent message from (Utility Name) on (date) at (time). The (Utility Name) has established locations for the distribution of drinking water. If 1 Site – Water is being distributed at (Name of Site), (Address of Site with Cross Streets). Water will be distributed (days and hours of operation.) If Multiple Sites - Distribution locations, dates and times of operation are posted on our website (www.website.com). Residents will need to bring clean containers to collect and store the water in. Containers should be houseware or camping type containers, water vending bottles, or empty beverage containers such as soda bottles, water or juice containers. DO NOT utilize milk bottles or any container that is not marked for or used for food and beverages. Residents who cannot get to a water distribution location or cannot carry a water container once full, should… For more information and updates please call (Utility Name) at (phone #) or visit our website at (www.website.com). | Due to the impact of this disaster on our ability to deliver water through our distribution system, the (Agency Name) will be providing clean drinking water at the following locations on the noted dates and times: Location Dates Times Residents who cannot get to a water distribution location or cannot carry a water container once full, should… Residents should bring clean food grade containers with tight fitting screw-on caps to fill with water. For examples of containers that can be used, should NOT be used and instructions on how to disinfect containers, please visit (mobile friendly website or social media link). For more information, concerns and updates to the Drinking Water Points of Distribution schedule… website, phone number, social media site, etc. | (Utility Name). Drinking Water Distribution Sites Established. For more info (000-000-0000), (www.website.com) Count: 110 If only 1 site consider trying to provide cross streets or address. |
| Bottle Water and/or Commodity Distribution | This is an urgent message from (Agency Name) on (date) at (time). The (Agency Name) has established locations for the distribution of bottled water. If 1 Site – Water is being distributed at (Name of Site), (Address of Site with Cross Streets). Water will be distributed (days and hours of operation.) If Multiple Sites - Distribution locations, dates and times of operation are posted on our website (www.website.com). Residents will receive (describe what they will receive – case of bottled water, 3 – 1 gallon jugs, etc.) Residents should be able to load and unload the water themselves. Residents who cannot get to a water distribution location or cannot carry the water containers being distributed, should… For more information and updates please call (Agency Name) at (phone #) or visit our website at (www.website.com). If other commodities (food, ice, flashlights, etc.) will be distributed, include those other commodities in the description above. | Due to the impact of this disaster on water systems, the (Agency Name) will be providing bottled water at the following locations on the noted dates and times: Location Dates Times Residents will receive (describe what they will receive – 1 case of bottled water, 3 – 1 gallon jugs, etc.) Residents should be able to load and unload the water themselves. Residents who cannot get to a water distribution location or cannot carry the water containers being distributed, should… For more information, concerns and updates to the Bottle Water Points of Distribution schedule… website, phone number, social media site, etc. | (Agency Name). Bottled Water Distribution Sites Established. For more info (000-000-0000), (www.website.com) Count: 110 If only 1 site consider trying to provide cross streets or address. |

Examples:

Semi-, 18-wheeler trucks